## Sheet1
Event Description
S.No. | Event Description | Status
1 | Additional bracketing standard injected during analysis | Enable
2 | Determination error | Enable
3 | Determination interrupted | Enable
4 | Wrong selection of sequence | Enable
5 | Missing/Incomplete entry (weights, dilution, RRF, Purity etc. ) | Enable
6 | Data Invalid | Enable
7 | Abnormal IR Spectrum | Enable
8 | Wrong selection of scan range in IR | Enable
9 | Wrong Comments | Enable
10 | Blank Interference/Carryover | Enable
11 | Assigning the Retest / Expiry date is missed | Enable
12 | Instrument Error / Failure observed | Enable
13 | Obtained calibration parameter results are not meeting the acceptance criteria | Enable
14 | Data saved multiple times | Enable
15 | Variation in Standard or Sample transmittance | Enable
16 | % RSD failure | Enable
17 | Lost prime | Enable
18 | Peak responses are not in line with the regular trend | Enable
19 | Negative response / results observed | Enable
20 | Instrument / Accessory is not responding / functioning | Enable
21 | Results are not in line with the trend | Enable
22 | Sample set interruption | Enable
23 | Documentation error | Enable
24 | Calculation error | Enable
25 | Vial missing | Enable
26 | Wrong selection of standard | Enable
27 | Wrong STP/Method/Column selection | Enable
28 | Wrong data path selection | Enable
29 | Wrong sequence Preparation | Enable
30 | Communication error | Enable
31 | System suitability parameters not meeting the acceptance criteria | Enable
32 | Start Count Missing | Enable
33 | RT shifting issue/ RT Not Matching with STP RT | Enable
34 | Injection volume wrong | Enable
35 | Vial number wrong | Enable
36 | Over pressure | Enable
37 | Unknown peak | Enable
38 | % RSD failure for standard solution | Enable
39 | % RSD failure for bracketing standard solution | Enable
40 | Base line noise or disturbance | Enable
41 | Peak splitting or improper peak shape | Enable
42 | Peak(s) not eluted | Enable
43 | weights not entered in custom fields | Enable
44 | Incomplete run or injection or measurement | Enable
45 | Wrong weights entry | Enable
46 | Data file not saved after completion of analysis | Enable
47 | Sample or standard transmittance is low | Enable
48 | Results variation in two preparations | Enable
49 | Pressure fluctuations or drops | Enable
50 | Others | Enable